## Sheet1
CENTEX 23 PRICE DERIVATION
LOT NO. | ITEM NAME | AGENCY SPECIFICATION | REMARKS
|  |  | SET A | SET B | SET C | SET D | SET E | SET F | SET G | INTERNET | Notes
3 | Dissolve Oxygen Meter | • D.O. saturation 0-200% • DO concentration 0-20 ppm(mg/L) • Temperature 0- 50 degrees Celsius • Salinity Compensation 0-50 ppt | 45,000.000 YSI DO200 | 40,320.00 Lutron Indicate Model Number to verify specification viz-a-vis Agency specs. | 44,635.000 Oakton DO6 plus | 13,220.000 Milwaukee MW 600 |  |  |  | 50,999.000 YSI 55
3 | Salinity Refractometer | • Rubber hand grip blocks hand heat • Calibration screen • Caution rubber eyepiece • Prism mounted in high impact plasitc | 18,500.000 Lamotte 5-0020 | 16,576.00 Atago Indicate Model Number to verify specification viz-a-vis Agency specs. | 13,600.000 Atago Master-S/ Mill | 20,480.000 Atago Master-S/ Alpha | 51,603.03 Vee Gee Indicate Model Number to verify specification viz-a-vis Agency specs. |  | 14,800.000 Hach FG100sa
3 | Total Station Surveying Equipment | • 3.5" Large Dual Touch-screen HD Display • Andriod Smartphone as data collector • EDM Trigger; Automatically measurement key • 500 Meters long range reflectorless • 200,000.00 points memory data Upload/Download • Complete Surveying/Construction/Road Programs on board • Electronic Bubble; Direct data plotting on main screen • Alphanumeric Keys for Easy and Quick Data Input • MS Windows Compatible; GPS data ready • Data Text, DXF, CSV / AutoCAD Ready | 330,000.000 Spectra Precison Focus 8 5" | 470,000.000 Nikkon Nivo 5C | 285,000.000 New South Star Graphic Design R6A | 600,000.000 Geomax Zoom 35 Pro | 460,000.000 TS06plus 7" R1000, CSC, Full kbd |  |  | 333,782.4 TOPCON Total Station GTS-102R New amount is 338,143.680 based on 50.319 Peso to Dollar exchange rate.
3 | Soil pH Meter | • Range 0.00-14.00 pH 0-60 oC • Resolution 0.01pH /0.1oC • Accuracy + 0.02pH /+ 0.5oF at 20oC/68oF | 4,839.00 Takemura Indicate Model Number to verify specification viz-a-vis Agency specs. | 7,000 Takemura Indicate Model Number to verify specification viz-a-vis Agency specs. | 4,000 Takemura Indicate Model Number to verify specification viz-a-vis Agency specs. |  | 56,520.00 Hach PH77-SS this make brand is for General Purpose Probe. |  |  | 6035.764 Kelway SN: 94302
3 | Water Thermometer | • Display LCD • Weight 200 gram including battery • Temperature scale is Celsius and Fahrenheit • Measurement range -50 to 1000 degrees C • Sampling rate 2.5 per second with dimension 148mm x 71mm x 36mm | 1,650.00 HM Digital TM-1 with measurement range from -50 to 250 degrees C (below to the 1000 degrees required) | 17,515.00 China DM-6801 Dimension of agency specs is 148mm x 71mm x 36mm. Item's dimension is 130x95x28mm Agency specification in weight requires 200 gram including the battery. Item is 250 gram | 48,716.14 Digi-Sense Indicate Model Number to verify specification viz-a-vis Agency specs. | 11,121.00 Hannainst HI935007N Dimension of agency specs is 148mm x 71mm x 36mm. Item's dimension is 152 x 58 x 30 mm |  |  |  | 10,244.781 Sato SWPII-01M Agency specification requires range of -50 to 1000 degrees C. Item specification ranges from only -40 to 250° C Agency specification in weight requires 200 gram.Item is 100 gram
3 | Digital Water pH Meter | • Digital pH range 0-14 • Temperature range 0-100 degrees Celsius • pH Resolution 0.01 unit • Weight-105 g • Size=23x188x46mm | 35,000.00 YSI PH100 with temperature range from -10 - 120 degrees C (above to the 0-100 degrees required) | 3,024.00 EZDO Indicate Model Number to verify specification viz-a-vis Agency specs. Requese For Quoatation is not an onriginal copy | 6,000.00 Milwaukee MW 101 with temperature range from 0 - 50 degrees C (below to the 0-100 degrees required) Weight requirement is up to 105 g. The Item's weight is 220g Agency's specification for dimension is different to the items dimension which is 145 x 80 x 40 mm | 36,450.00 OHAUS USA STARTER 300 Agency's specification for dimension is different to the items dimension which is 35 mm x 170 mm x 90 mm Agency Specification in weight is different to the Items's weight(160g) |  |  |  | 6,050.00 Hanna Instrument Grochek LCD Item has no Temperature Operating range Agency's specification for dimension is different to the items dimension which is 86 x 110 x 43 mm Agency Specification in weight is different to the Items's weight(150g)
3 | Secchi Disk | • Size: 20 cm diameter circle of acrylic disk 3/8” or 1/2” in thickness (aluminum • Attached to nylon rope • Flat black rust resistant spray painted * Flat white rust resistant spray painted | 7,500.000 Lamotte 0171-CL |  | 38,496.37 Lamotte Indicate Model Number to verify specification viz-a-vis Agency specs. | 2,161.00 Indicate Brand Name & Model Number to verify specification viz-a-vis Agency specs. | 7,355.00 Indicate Brand Name & Model Number to verify specification viz-a-vis Agency specs. |  |  | 3741.218 Lamotte 0171-C
3 | Water Quality Test Kit | • Octa slide comparator test • Ammonia nitrogen range- 0 to 0.05, 0.1 , 0.25 , 0.50, 1.0,1.5,2.0,ppm. • Nitarite, Nitrogen range -0.05,0.1,0.2,0.3,0.4,0.5,0.6,0.8 ppm; • pH range , 5.0,5.5,6.0,6.5,7.0, 7.5,8.0,8.5. • Direct reading ; titrator-alkalinity,range /sensitivity 0.200ppm /4.0ppm • Carbon dioxide, range • Sensitivity 0-50 ppm/1,0 ppm • Chloride range sensitivity, 0-200ppm • Dissolve oxygen range ; o to 10 ppm/0.2 ppm • Hardness total CaCO3 range sensitivity / 0 to 200 ppm, to 4.0 ppm • Temperature -armored thermometer -5C to +45C/0.5C | 30,840.000 Lamotte 3633-05 | 71,990 Lamotte Indicate Model Number to verify specification viz-a-vis Agency specs. |  | 10,958 Indicate Brand Name & Model Number to verify specification viz-a-vis Agency specs. | 50,176 Indicate Brand Name & Model Number to verify specification viz-a-vis Agency specs. |  |  | 17,173.372 Hach FF1A 'Nitrate range of the item is different to the agency specs which is 0 - 0.5 mg/L Hardness range is different to the agency specs which is 17 - 510 mg/L
3 | Multiparameter Meter System | • Portable digital sampling system for the measurement of pH, ORP, dissolved oxygen (optical-based sensor), conductivity, turbidity, temperature, depth. mV range ± 600mV ORP range ± 200mV EC range 0-200mS/cm TDS range 0-400,000 ppm Salinity range 0-70ppt Ammonia/Nitrogen range 0.02- 200 ppm Chloride range 0.6-200 ppm Nitrate nitrogen range 0.62-200 ppm Turbidity Range 0-99.9 FNU D.O Range 0-50 ppm Temperature Range -5 t0 55 Celsius | 275,000.000 Eutech Instrument 6500 | 468,018.000 YSI Indicate Model Number to verify specification viz-a-vis Agency specs | 308,851.000 Indicate Brand Name & Model Number to verify specification viz-a-vis Agency specs. | 406,484.000 Hanna Instruments HI9829 |  |  |  | 242,384.000 Horiba 3200164509
3 | Eckman Dredge | The 6” x 6” x 6” Eckman Dredge is used for sampling benthic communities inhabiting soft bottomed aquatic environments. > Sample area: 225 cm² > Sample volume: 5 L > Drop messenger 500 g > AISI 316 stainless steel > Finish: Electro polish > Dimensions when loaded: 270 x 215 x 425 mm > Weight: 5.8 kg > Shaft-AISI 316 stainless steel >Shaft Length 2 m. extendable to a maximum of 4 m. • Weight 1,7 kg | 17,550.00 Lamotte 1097 Sample volume is different to the agency specification (2.21225 L) | 150,960.000 Wildco EW 05470-00 | 157,278.6 Poner Indicate Model Number to verify specification viz-a-vis Agency specs. | 59,449.00 Indicate Brand Name & Model Number to verify specification viz-a-vis Agency specs. |  |  |  | 36,732.87 Indicate Brand Name & Model Number to verify specification viz-a-vis Agency specs
3 | Portable Welding Machine | Inverter type, portable with complete accessories, electrode holder ground clamp, power cables. Input power: 220 vac, single phase, 60 hz. Output current: 40-200 AC/DC, up to 40% duty cycle | 7,280.00 Indicate Brand Name & Model Number to verify specification viz-a-vis Agency specs. | 8500 Hitronics TIG 200 | 14,500.00 Yamato Indicate Model Number to verify specification viz-a-vis Agency specs. | 6,000.00 Power Star Indicate Model Number to verify specification viz-a-vis Agency specs. | 4,200.00 Yamato Indicate Model Number to verify specification viz-a-vis Agency specs. | 5,800.000 JR Kawasaki MMA-215
3 | Generator | Specifications: 120KVA/96KW, 220 volts, 60Hz, 3 phase, Industrial Generator Set, Diesel Engine Operated, complete with genset package with standard accessories. | 500,000.00 Indicate Brand Name & Model Number to verify specification viz-a-vis Agency specs. | 870,000.00 Cummins Indicate Model Number to verify specification viz-a-vis Agency specs. | 770,000.000 BAIFA DIESEL GENERATOR SETBF-C103-60 | 841,000.000 GREAVES POWER GPW125P | 450,000.000 Indicate Brand Name & Model Number to verify specification viz-a-vis Agency specs.
3 | Water Pump | • Engine water pump • NS-100 Self priming pump, 4" x 4" • Premium model radiator engine water pump set/Agri pump set • 10 horse power • NS - 100 4" x 4" | 110,000.00 Kubota | 51,482.00 Golden Bow Indicate Model Number to verify specification viz-a-vis Agency specs. | 87,000.00 Kubota RK-80 Engine power is different to the agency's specification(7.00 - 8.00 HP). | 85,000.00 Eagle Indicate Model Number to verify specification viz-a-vis Agency specs. No Results of the brand name on the internet | 45,920.00 Golden Flying Fish Indicate Model Number to verify specification viz-a-vis Agency specs
3 | Reach-in refrigerator | Two Door Reach in Refrigerator, 500 Liters True GDM-49 Glass Door Merchandiser, 500 Liters |  | 85,580.000 Rainbow SS Upright Chiller 2 Door RA-680C | 105,101.000 Hoshizaki A-Fit Series 2DR HRE-77MA-W | 65,000.000 Daiko MRA 680 | 94,000.000 Articcol Upright Chiller LR-681PC |  |  | 138,895.000 Sharp SJFS79VSL | True GDM-49 is a brand name & most of the offer are steel/ stainless door.